| Canterbury Regional Group Meeting Minutes | 3 May 2018 Arjo, 22 Buchan St 1.30 pm to 2.45 pm (1.25 hours) |
| --- | --- |
| Facilitator: | Ann Newsom |
| Minute taker: | Sue Alexander |
| Apologies: | Rebecca Washbourn, Rene Provan |
| Attendees: | Ann Newsom, Sue Alexander, Rhonda Henderson, Jessie Snowdon, Kim Ridl, Jo Heggarty, Lucie Hartfield |
| Previous minutes: | No discussion of previous minutes – to be confirmed at next meeting. |
| Agenda: |
|  | Arjo equipment update – by Ian Wylie Update on new roles and people working in Christchurch. Update on changes to Arjo company structure internationally. Installing 250 ceiling tracking systems at CDHB by the end of 2018. New innovations from Arjo include bariatric beds (SWL 450 kg) that still fit through doors and into lifts; incorporation of a 5th driving wheel on beds. Demonstration of Sara Flex (sit to stand lifter). Discussion about sling testing; asset registers; and preventative maintenance programmes. Ian provided information about the standard that should be met for medical devices. Ian provided the following info: https://shop.standards.govt.nz/catalog/3551:2012(AS%7CNZS)/scope AS/NZS3551 2012 is the standard all care facilities should be working to, with regards their “medical devices” but aren’t aware of or compliant with. It means following manufacturer recommendations regarding service, eg fully electrically tested and function testing as per its indicated range of movement under load at least annually. The more common test and tag isn’t the standard that should be applied. The Arjohuntleigh summary is a succinct and accurate representation of the broader standard. Discussion about selecting appropriate equipment that matches the patient’s weight bearing ability, balance and shoulder mobility. Discussion about ‘therapeutic handling’ compared to ‘care handling’. Demonstration of an all-day sling (breathable fabric that can be left in place – cost $700) and mesh showering sling. Improving accessibility for disabled people ‘Changing Places – Transforming Lives’ is primarily about design of bathrooms refer to http://www.changingplaces.org.nz/Content/Home.htm . The NZ Coordinator for this is Jenn Hooper who is based in Hamilton where the first site has been opened. Refer also to http://en.pressalit.com/ for bathroom features. SEBA has some design improvements to make it more robust and easier to use. |
| Next meeting: | Thursday 14 June 2018 at 1.30 pm |
| Venue: | Therapy Professionals |
| Topic | Feedback from AAMHP conference (Jessie Snowdon and Rebecca Washbourn |